## Planning Parameters
2028/2029 RPM Base Residual Auction Planning Parameters |  |  | 2026-07-27
| RTO | Notes:
Installed Reserve Margin (IRM) | 20% | endorsed at the February 19, 2026 MRC meeting. See:https://www.pjm.com/-/media/DotCom/committees-groups/committees/mrc/2026/20260219/20260219-item-01---1-2028-2029-bra-fpr--irm---presentation.pdf
Pool-Wide Accredited UCAP Factor | 78.34% | endorsed at the February 19, 2026 MRC meeting.
Reference Resource AUCAP Factor | 79%
Forecast Pool Requirement (FPR) | 0.9401 | endorsed at the February 19, 2026 MRC meeting.
Preliminary Forecast Peak Load | 165953.5 | 2026 Load Report with adjustments for load served outside PJM.
Price Cap ($/MW-ICAP) | 256.75 | Established in ER26-1556
Price Floor ($/MW-ICAP) | 138.25 | Established in ER26-1556
Locational Deliverability Area
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL | DAYTON | DEOK | DOM | JCPL
CETO | NA | -187 | 5903 | 6131 | 6481 | 2712 | 1654 | 3888 | 3910 | 3534 | 1267 | 4568 | 1187 | 2785 | 2800 | 7758 | 3628
CETL | NA | 1318 | 6904 | 5862 | 8873 | 4656 | 2005 | 5770 | 11803 | 5430 | 1586 | 5658 | 5312 | 4432 | 5934 | 5992 | 5312
Reliability Requirement | 156012.8853 | 54479.4 | 31225.9 | 13327 | 10851.1 | 5230.7 | 2683.9 | 6488.6 | 12544.3 | 5212 | 22817.2 | 6991.2 | 10155 | 3792.1 | 5661.1 | 30015.5 | 6258.2
Total Peak Load of FRR Entities | 11556 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Preliminary FRR Obligation | 10863.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reliability Requirement adjusted for FRR | 145149.0854 | 54479.4 | 31225.9 | 13327 | 10851.1 | 5230.7 | 2683.9 | 6488.6 | 12544.3 | 5212 | 22817.2 | 6991.2 | 10155 | 3792.1 | 5661.1 | 30015.5 | 6258.2
Gross CONE, $/MW-Day (UCAP Price) | 776.14 | 756.66 | 756.03 | 769.9 | 756.03 | 756.03 | 756.03 | 769.9 | 745.62 | 745.62 | 860.07 | 769.9 | 749.09 | 745.62 | 745.62 | 745.62 | 756.03
E&AS Value, $/MW-Day (UCAP Price) | 450.4481 | 327.0215 | 214.2715 | 450.1515 | 158.6835 | 158.6835 | 334.2785 | 368.8101 | 436.4051 | 436.4051 | 283.1899 | 490.2152 | 265.3165 | 469.1646 | 445.6076 | 574.5443 | 163.9114
Variable Resource Requirement Curve:
Point (a) UCAP Price, $/MW-Day | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325
Point (b) UCAP Price, $/MW-Day | 277.36 | 312.45 | 175 | 273.89 | 175 | 175 | 309.37 | 304.39 | 265.08 | 265.08 | 175 | 258.86 | 175 | 252.8 | 261.63 | 213.28 | 175
Point (c) UCAP Price, $/MW-Day | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175
Point (d) UCAP Price, $/MW-Day | 175 | 175 |  | 175 |  |  | 175 | 175 | 175 | 175 |  | 175 |  | 175 | 175 | 175
Point (a) UCAP Level, MW | 146703 | 55241.9 | 31810.8 | 13464.7 | 11079.2 | 5340.7 | 2720.8 | 6574.9 | 12661.6 | 5260.7 | 23327 | 7051.4 | 10315.9 | 3821.9 | 5711.7 | 30072.6 | 6388.5
Point (b) UCAP Level, MW | 147326.3 | 55296.6 | 32405.6 | 13526.9 | 11274.5 | 5434.8 | 2724.2 | 6585.9 | 12732.5 | 5290.2 | 23723.5 | 7096.1 | 10522.9 | 3849 | 5746 | 30465.7 | 6501.7
Point (c) UCAP Level, MW | 149736.8 | 56375.1 | 33099.5 | 13743.4 | 11502.2 | 5544.5 | 2776.6 | 6710 | 12924.3 | 5369.9 | 24186.2 | 7198 | 10764.3 | 3901.5 | 5830.4 | 30708.1 | 6633.7
Point (d) UCAP Level, MW | 153858 | 57748.2 |  | 14126.6 |  |  | 2844.9 | 6877.9 | 13297 | 5524.7 |  | 7410.7 |  | 4019.6 | 6000.8 | 31816.4
Nominated PRD Value, MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
VRR Curve adjusted for PRD:
Point (a1) UCAP Price, $/MW-Day
Point (b1) UCAP Price, $/MW-Day
Point (prd1) UCAP Price, $/MW-Day
Point (prd2) UCAP Price, $/MW-Day
Point (c) UCAP Price, $/MW-Day
Point (a1) UCAP Level, MW
Point (b1) UCAP Level, MW
Point (prd1) UCAP Level, MW
Point (prd2) UCAP Level, MW
Point (c) UCAP Level, MW
Pre-Auction Credit Rate, $/MW | 59438.77 | 78409.02 | 98870.92 | 58354.1 | 109015.73 | 109015.73 | 76969.65 | 73198.9 | 56431.73 | 56431.73 | 105280.62 | 51042.48 | 88288.67 | 50453.12 | 54752.26 | 31221.31 | 108061.65
Post-Auction Credit Rate, $/MW | 23725 | 67204.384 | 98870.9228 | 23725 | 109015.7282 | 109015.7282 | 63793.0757 | 54856.3975 | 23725 | 23725 | 105280.6231 | 23725 | 88288.6718 | 23725 | 23725 | 23725 | 108061.6459
Please see 28/29 BRA Auction Results file (BRA ICTRs tab) for data on awarded Participant-Funded ICTRs
FRR Load Requirement (% Obligation):
Minimum Internal Resource Requirement | NA | 100% | 85.8% | 66.6% | NA | NA | NA | NA | NA | NA | NA | 23% | NA | NA | NA | 91.2% | NA
* - Participant Funded ICTRs will be updated on final Planning Parameters posting after the completion of the 28/29 BRA
LDA CETO/CETL Data; Zonal Peak Loads, Base Zonal FRR Scaling Factors, and FRR load.
LDA/Zone | CETO (Capacity Emergency Transfer Objective) | CETL (Capacity Emergency Transfer Limit) | CETL to CETO Ratio % | 2025 Zonal W/N Coincident Peak Loads | LA Adder** | Preliminary Zonal Peak Load Forecast minus LA Adder | Base Zonal FRR Scaling Factor | Preliminary Zonal Peak Load Forecast | FRR Portion of the Preliminary Peak Load Forecast | Preliminary Zonal Peak Load Forecast minus FRR Load | LDA/Zone
RTO | NA | NA | NA | 153870 | 16252 | 149701.5 | NA | 165953.5 | 11556 | 154397.5 | RTO
AE | 2221 | >2,554.2 | >115% | 2315 | 0 | 2320 | 1.0022 | 2320 | 0 | 2320 | AE
AEP | 3833 | >4,408.0 | >115% | 22985 | 4748 | 22249 | 0.96798 | 26997 | 11556 | 15441 | AEP
APS | 1601 | >1,841.2 | >115% | 8600 | 319 | 8513 | 0.98988 | 8832 | 0 | 8832 | APS
ATSI | 3910 | >11803 | >115% | 12390 | 299 | 12112 | 0.97756 | 12411 | 0 | 12411 | ATSI
ATSI-CLEVELAND | 3534 | 5430 | 153.7% | NA | 0 | 4046 | NA | 4046 | 0 | 4046 | ATSI-CLEVELAND
BGE | 4568 | 5658 | 123.9% | 6320 | 43 | 6117 | 0.96788 | 6160 | 0 | 6160 | BGE
COMED | 1267 | 1586 | 125.2% | 19090 | 1663 | 18478 | 0.96794 | 20141 | 0 | 20141 | COMED
DAYTON | 2785 | 4432 | 159.1% | 3150 | 277 | 3134 | 0.99492 | 3411 | 0 | 3411 | DAYTON
DEOK | 2800 | 5934 | 211.9% | 5070 | 0 | 5087 | 1.0034 | 5087 | 0 | 5087 | DEOK
DLCO | 1828 | >2,102.2 | >115% | 2610 | 0 | 2586 | 0.9908 | 2586 | 0 | 2586 | DLCO
DOM | 7758 | 5992 | 77.24% | 22700 | 6956 | 21067 | 0.92806 | 28023 | 0 | 28023 | DOM
DPL | 1476 | >1,697.4 | >115% | 3770 | 0 | 3748 | 0.99416 | 3748 | 0 | 3748 | DPL
DPL SOUTH | 1654 | 2005 | 121.2% | NA | 0 | 2331.3 | NA | 2331.3 | 0 | 2331.3 | DPL SOUTH
EKPC | 959 | >1,102.9 | >115% | 2010 | 0 | 2421.5 | 1.2047 | 2421.5 | 0 | 2421.5 | EKPC
JCPL | 3628 | 5312 | 146.4% | 5760 | 0 | 5674 | 0.98507 | 5674 | 0 | 5674 | JCPL
METED | 1481 | >1,703.2 | >115% | 2940 | 0 | 2916 | 0.99184 | 2916 | 0 | 2916 | METED
OVEC | NA | NA | NA | 60 | 0 | 60 | 1 | 60 | 0 | 60 | OVEC
PECO | 3016 | >3,468.4 | >115% | 8120 | 281 | 7984 | 0.98325 | 8265 | 0 | 8265 | PECO
PENLC | 232 | >266.8 | >115% | 2770 | 0 | 2664 | 0.96173 | 2664 | 0 | 2664 | PENLC
PEPCO | 3888 | 5770 | 148.4% | 5830 | 0 | 5758 | 0.98765 | 5758 | 0 | 5758 | PEPCO
PL (incl. UGI) | 1187 | 5312 | 447.5% | 7220 | 1274 | 7074 | 0.97978 | 8348 | 0 | 8348 | PL (incl. UGI)
PS | 6481 | 8873 | 136.9% | 9770 | 392 | 9363 | 0.95834 | 9755 | 0 | 9755 | PS
PS NORTH | 2712 | 4656 | 171.7% | NA | 0 | 4721.4 | NA | 4721.4 | 0 | 4721.4 | PS NORTH
RECO | NA | NA | NA | 390 | 0 | 376 | 0.9641 | 376 | 0 | 376 | RECO
EMAAC | 5903 | 6904 | 117% |  |  |  |  | 30138 | 0 |  | EMAAC
SWMAAC | 6131 | 5862 | 95.61% |  |  |  |  | 11918 | 0 |  | SWMAAC
Western MAAC | -6515 | * | * |  |  |  |  | 13928 | 0 |  | Western MAAC
MAAC | -187 | 1318 | * |  |  |  |  | 55984 | 0 |  | MAAC
Western PJM | 6197 | *** | >115%*** |  |  |  |  | 81946.5 | 11556 |  | Western PJM
* LDA has adequate internal resources to meet the reliability criterion.
** LA Adder represents Load Adjustments in auction DY for each zone. See M19 Attachment B.
*** Analysis assumes sufficient resources outside the LDA under study
Limiting conditions at the CETL for modeled LDAs:
LDA | Violation |  | Limiting Facility
MAAC | Discreet Thermal |  | Morrisville - Loudoun 500 kV line for the loss of Brister - Ox 500 kV line
EMAAC | Mean Thermal |  | Morrisville - Loudoun 500 kV line for the loss of Brister - Ox 500 kV line Elroy - Hosensack 500 kV for the loss of Alburtis - Branchburg 500 kV
SWMAAC | Discrete Voltage |  | Voltage collapse for the loss of Brighton - Conastone 500 kV line (5011)
PS | Mean Thermal |  | Morrisville - Loudoun 500 kV line for the loss of Brister - Ox 500 kV line Laurel Ave - Livingston 230 kV for the loss of Roseland - West Orange 230 kV Roseland _Wilpipe 230 kV for the loss of Rosland - Cedar Grove 230 kV
PSNORTH | Discrete Thermal |  | Morrisville - Loudoun 500 kV line for the loss of Brister - Ox 500 kV line Laurel Ave - Livingston 230 kV for the loss of Roseland - West Orange 230 kV Roseland _Wilpipe 230 kV for the loss of Rosland - Cedar Grove 230 k
DPLSOUTH | Discrete Thermal |  | Loudoun - Morrisville 500 kV line for the loss of Brister - Ox 500 kV line Cool Springs - Miford 230 kV for the loss of Milford - Indian River 230 kV line
PEPCO | Mean/Discrete Thermal |  | Morrisville - Loudoun 500 kV line for the loss of Brister - Ox 500 kV line
ATSI | Mean Thermal |  | No limiting facility found
ATSI-CLEVELAND | Mean/Discrete Voltage |  | Low voltage at Lake Ave, Avon and Beaver 345 kV substations for the loss of Beaver - AC2-103 Tap (to Davis -Besse) 345 kV line
COMED | Discrete Thermal |  | Goodings Grove - Lockport "B" 345 kV line for the loss of Lockport - Kendall County Ec 345kv
BGE | Discrete Voltage |  | Voltage collapse for the loss of Brighton - Conastone 500 kV line (5011)
PL | Mean Thermal |  | Morrisville - Loudoun 500 kV line for the loss of Brister - Ox 500 kV line
DAYTON | Mean/Discrete Thermal |  | Knollwood - Overlook 138 kV for the loss of Greene - Overlook - Monument 138 kV S.W. Lima - West Moulton 138 kV for the loss of Gristmill - S.W. Lima 345 kV
DEOK | Mean/Discrete Thermal |  | Pierce 345/138 kV transformer #18 for the loss of Pierce - Foster 345 kV line Sporn - Kyger Creek 345 kV line for the loss of Hanging /Rock - Don Marquis 765 kV line and Marquis 765/345 kV transformer #1
DOM | Mean Thermal |  | Doubs - Goose Creek 500 kV for the loss of Meadow Brook - Loudoun 500 kV Twin Creek - Edwards Ferry 230 kV for the loss of Doubs - Goose Creek 500 kV
JCPL | Mean Thermal |  | Morrisville - Loudoun 500 kV line for the loss of Brister - Ox 500 kV line Cookstown - Lumberton 230 kV for the loss of Larrabee - Smithburg 230 kV Middlesex - Lake Nelson (I) 230 kV for the loss of Larrabee - Smithburg 230 kV
3/20/2026 - Initial posting - please note that resources with Reliability Must Run requirements are included in the Planning Parameters modeling.
4/21/2026 - Updated Limiting Facility for COMED LDA.
4/29/2026 - Added VRR Curve to reflect FERC approval of the extension of cap and floor. Added final FRR data.
7/27/2026 - Added Post-Auction Credit Rate data

## Net CONE
RPM CONE and E&AS Values for 2028/2029 Base Residual Auction
ICAP to UCAP Conversion Factor:
UCAP Price = ICAP Price / Pool-Wide Average Accredited UCAP Factor
Reference Resource Accredited UCAP Factor | [6 empty] | 79%
CONE Area 1: AE, DPL, JCPL, PECO, PS, RECO
CONE Area 2: BGE, PEPCO
CONE Area 3: AEP, APS, ATSI, Dayton, DEOK, Dominion, Duquesne (DLCo), EKPC, OVEC
CONE Area 4: MetEd, Penelec, PPL
CONE Area 5: ComEd
Zone/LDA | 2028/2029 BRA CONE: Levelized Revenue Requirement, $/MW-Year * | Escalation | 2028/2029 BRA CONE: Levelized Revenue Requirement, $/MW-Year | Gross CONE, $/MW-Day, UCAP Price | Forward Net E&AS Revenue Offset, $/MW-Year, ICAP | Forward Net E&AS Revenue Offset, $/MW-Year, UCAP | Net CONE, $/MW-Day, ICAP Price | Net CONE, $/MW-Day, UCAP Price | LDA Modeled with VRR Curve
CONE Area 1 | 218000 | 1 | 218000 | 756.03
AE |  |  |  | 756.03 | 49275 | 62373.4177 | 462.2603 | 585.14
DPL |  |  |  | 756.03 | 96389.2 | 122011.6456 | 333.1803 | 421.75 | DPL SOUTH
JCPL |  |  |  | 756.03 | 47263.85 | 59827.6582 | 467.7703 | 592.11 | JCPL
PE |  |  |  | 756.03 | 76368.95 | 96669.557 | 388.0303 | 491.18
PSEG |  |  |  | 756.03 | 45756.4 | 57919.4937 | 471.9003 | 597.34 | PS, PSEG NORTH
RECO |  |  |  | 756.03 | 53932.4 | 68268.8608 | 449.5003 | 568.99
EMAAC |  |  |  | 756.03 | 61785.1925 | 78209.1044 | 427.9858 | 541.75 | EMAAC
CONE Area 2 | 222000 | 1 | 222000 | 769.9
BGE |  |  |  | 769.9 | 141353.55 | 178928.5443 | 220.9492 | 279.68 | BGE
PEPCO |  |  |  | 769.9 | 106346.4 | 134615.6962 | 316.8592 | 401.09 | PEPCO
SWMAAC |  |  |  | 769.9 | 129801.1905 | 164305.3044 | 252.5995 | 319.75 | SWMAAC
CONE Area 4 | 216000 | 1 | 216000 | 749.09
METED |  |  |  | 749.09 | 89414.05 | 113182.3418 | 346.8108 | 439
PENELEC |  |  |  | 749.09 | 136396.85 | 172654.2405 | 218.0908 | 276.06
PPL |  |  |  | 749.09 | 76504 | 96840.5063 | 382.1808 | 483.77 | PPL
MAAC |  |  |  | 756.66 | 94296.655 | 119362.8544 | 333.4338 | 422.07 | MAAC
CONE Area 3 | 215000 | 1 | 215000 | 745.62
AEP |  |  |  | 745.62 | 131980.35 | 167063.7342 | 227.4511 | 287.91
APS |  |  |  | 745.62 | 144810.1 | 183303.9241 | 192.3011 | 243.42
ATSI |  |  |  | 745.62 | 125837.4 | 159287.8481 | 244.2811 | 309.22 | ATSI, ATSI CLEVELAND
DAYTON |  |  |  | 745.62 | 135283.6 | 171245.0633 | 218.4011 | 276.46 | DAYTON
DEOK |  |  |  | 745.62 | 128490.95 | 162646.7722 | 237.0111 | 300.01 | DEOK
DLCO |  |  |  | 745.62 | 104003.1 | 131649.4937 | 304.1011 | 384.94
DOM |  |  |  | 745.62 | 165669.85 | 209708.6709 | 135.1511 | 171.08 | DOM
EKPC |  |  |  | 745.62 | 142174.8 | 179968.1013 | 199.5211 | 252.56
OVEC |  |  |  | 745.62 | 120490.15 | 152519.1772 | 258.9311 | 327.76
CONE Area 5 | 248000 | NA | 248000 | 860.07
COMED |  |  |  | 860.07 | 81657.8 | 103364.3038 | 455.7321 | 576.88 | COMED
RTO | 223800 |  | 223800 | 776.14 | 129886.71 | 164413.557 | 257.2967 | 325.69 | RTO
CONE Area 5 29/30, 30/31, and 30/32 includes asset life factor of 1.025, 1.054, and 1.088 respectively.
* The 2028/2029 BRA CONE values are based on PJM’s filing (Docket No. ER26-455) which was FERC approved on January 21, 2026.

## Key Transmission Upgrades
New Key Transmission Upgrades included for 2028/2029 model
UpgradeId | Description | Transmission Owner
b3800.200 | Build a new 500kV line from Aspen - Golden on 500/230kV double circuit structures with substation upgrades at Aspen and Golden. New conductor to have a minimum summer normal rating of 4357MVA. | Dominion
b3800.212 | Build a new 500kV Line from Mars-Golden on 500/230kV double circuit structures with substation upgrades at Golden and Mars. New conductor to have a monimum summer normal rating of 4357 MVA. | Dominion
b3800.213 | Cut 500kV Line # 558 Brambleton - Goose Creek into Aspen substation. Upgrade 500kV terminal equipment at Aspen and Goose Creek to 5000A continuous rating current. At Goose Creek, replace circuit breakers 59582 and 55882, and associated disconnect switches, breaker leads, bus, and line risers to accommodate 5000A rating. | Dominion
b3800.214 | Build a new 500kV Line from Aspen - Goose Creek to achieve a summer rating of 4357 MVA. Install new 500kV terminal equipment at Aspen. | Dominion
b3800.225 | Change 500kV Line #558 destination at Brambleton to Aspen Substation and upgrade line protection relays | Dominion
b3800.311 | Rebuild 500kV Line #545 Bristers - Morrisville as a single circuit monopole line to accommodate the new 500 kV line in the existing ROW. New conductor to have a summer rating of 4357 MVA. | Dominion
b3800.336 | Upgrade and install equipment at Bristers substation to support the new conductor 5000A rating for 500kV Line #545. | Dominion
b4000.343 | Uprate bus at Brambleton to support 500kV Line #558 (Aspen to Brambleton) uprate. | Dominion
n8485.1 | Build a three breaker AE2-051 500 kV switching substation. | Dominion
n8485.2 | Re-arrange line #562 to loop into and out of the new three breaker AE2-051 500 kV switching station | Dominion
b3737.30 | Add third Smithburg 500/230 kV transformer. | JCPL
Key Transmission Upgrades included for 2027/2028 model but not included for 2028/2029 model
Upgrade ID | Description | Transmission Owner
None